## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver4.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: The Director, Rajiv Gandhi Centre for Aquaculture
Name of Work: Repair and Renovation of RGCA- HO Building at Karaimedu Village, Sirkali Taluk, Mayiladuthurai District, Tamil Nadu.
Contract No: 2024_RGCA_
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder (including Tax) Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (with Taxes) | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | A. TILES REPAIRING WORK DSR 15.23 - Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | DSR 15.23.1 - For thickness of tiles 10 mm a to 25mm. | 1.01 | 407.83 | Sq.m | 407.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | DSR 15.23.2 - For thickness of tiles above 25 mm and up to 40 mm. | 1.02 | 395.5 | Sq.m | 16810 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | DSR 11.40 - Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry@ 3.3 kg/ sqm including pointing the joints with white cement and atching pigments etc., complete. | 2 | 71.39 | Sq.m | 71.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | DSR 11.37A - Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 3 | 336.44 | Sq.m | 336.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | DSR 15.2 - Demolishing cement concrete manually / by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | 4 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.01 | DSR 15.2.2 - Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 4.01 | 10.86 | Cu.m | 10.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | DSR 4.1 - Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | 5 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.01 | DSR 4.1.8 - 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 5.01 | 10.86 | Cu.m | 10.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | DSR 11.26 - Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | 6 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.01 | DSR 11.26.1 - 25 mm thickMatt/Antiskid finish of size | 6.01 | 395.5 | Sq.m | 395.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | DSR 11.56 - Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. | 7 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.01 | DSR 11.56.1 - Polished Granite stone slab colour of Black, Cherry / Ruby Red or equivalent. | 7.01 | 8.8125 | Sq.m | 8.8125 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | B. PAINTING WORK DSR 13.112 - Finishing walls with Premium Acrylic Smooth exterior paint withSilicone additives of required shade. | 8 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.01 | DSR 13.112.1 - Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface. | 8.01 | 2452.1875 | Sq.m | 2452.1875 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | DSR 13.98 - Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade: | 9 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.01 | DSR 13.98.1 - One or more coats on old work | 9.01 | 6548.95 | Sq.m | 6548.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.02 | DSR 13.91 - Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 9.02 | 1300 | Sq.m | 1300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | DSR 13.99 - Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade. | 10 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.01 | DSR 13.99.1 - One or more coats on old work. | 10.01 | 700 | Sq.m | 700 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | DSR 14.1 - Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | 11 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.01 | DSR 14.1.1 - With cement mortar 1:4 (1 cement : 4 fine sand) | 11.01 | 350 | Sq.m | 350 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Wall Crack Repairing | 12 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.01 | LMR - Repair all hairline cracks by cutting "V"shaped grooves.and filling with ASIAN SMART CARE CRACK SEAL as per manufature specification. | 12.01 | 1200 | Rm | 1200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | DSR 13.43 - Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : | 13 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.01 | DSR 13.43.1 - Water thinnable cement primer | 13.01 | 2250 | Sq.m | 2250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.02 | DSR 13.8 - Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 13.02 | 1500 | Sq.m | 1500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | DSR 13.5 - Applying priming coat. | 14 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.01 | DSR 13.50.3 - With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron/ steel works. | 14.01 | 150 | Sq.m | 150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.02 | DSR 22.22A - Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | 14.02 | 1750 | Sq.m | 1750 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | C. WALL REPAIRING WORK DSR 15.7 - Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | 15 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15.01 | DSR 15.7.4 - In cement mortar | 15.01 | 25 | Cu.m | 25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15.02 | DSR 15.3 - Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 15.02 | 10 | Cu.m | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | DSR 14.1 - Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq. meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground within 50 metres lead : | 16 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.01 | DSR 14.1.2 - With cement mortar 1:4 (1cement: 4 coarse sand) | 16.01 | 670 | Sq.m | 670 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | DSR 6.4 - Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in | 17 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.01 | DSR 6.4.1 - Cement mortar 1:4 (1 cement : 4 coarse sand) | 17.01 | 38 | Cu.M | 38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18 | DSR 5.1 - Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | 18 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.01 | DSR 5.1.2 - 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 18.01 | 24 | Cu.M | 24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | D. ROOF REPAIR WORK LMR - Providing and laying Mangalore tiles (as per the approved pattern 20mm nominal thickness of approved size) on sloped roofs 10m above floor level with cement mortor 1:4(1cement:4 coarsed sand) mixed with integral water proofing compound, laid over a bed of 50mm thick cement mortor including necessary scafolding ,form work complete finishing | 19 | 900 | Sq.m | 900 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | DSR 15.23 - Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | 20 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20.01 | DSR 15.23.2 - For thickness of tiles above 25 mm and up to 40 mm. | 20.01 | 900 | Sq.m | 900 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21 | E. PLINTH PROTECTION DSR 4.1 - Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: | 21 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.01 | DSR 4.1.4 - 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | 21.01 | 35.85 | Cu.m | 35.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22 | DSR 5.9 - Centering and shuttering including strutting, propping etc. and removal of form for | 22 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.01 | DSR 5.9.5 - Lintels, beams, plinth beams, girders, bressumers and cantilevers | 22.01 | 36 | Sq.m | 36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23 | DSR 5.22 - Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level | 23 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23.01 | DSR 5.22.6 - Thermo-Mechanically Treated bars of grade Fe-500D or more. | 23.01 | 3224.72 | Kg | 3224.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | F. DOOR AND WINDOW REPAIRING WORK LMR - Providing and finishing bright finished brass tower bolts (barrel open) | 24 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24.01 | 250mmx10mm | 24.01 | 24 | Nos. | 24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24.02 | 150mmx10mm | 24.02 | 12 | Nos. | 12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
25 | LMR - Providing and fixing bright finished brass butt hinges with necessary screw etc. complete | 25 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
25.01 | 125x70x4mm | 25.01 | 60 | Nos. | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
25.02 | 100x70x4mm | 25.02 | 30 | Nos. | 30 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26 | LMR - Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per Is 1868) transpaarent or dyed to required colour or shade with necessary screws etc, complete | 26 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26.01 | 125mm | 26.01 | 25 | Nos. | 25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26.02 | 75mm | 26.02 | 20 | Nos. | 20 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27 | LMR - Providing and fixing Aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS 1868) transparent or dyed to required colour or shade with necessary screw etc. complete | 27 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27.01 | Twin Rubber Stopper | 27.01 | 49 | Nos. | 49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27.02 | LMR - Providing and fixing finished brass 100mm mortice latch and lock ISI marked with six levers and pair or anodiesed | 27.02 | 25 | Nos. | 25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28 | LMR - Providing and fixing in position for wood work in frames of doors,windows, | 28 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28.01 | Teak Wood | 28.01 | 0.8 | Cu.m | 0.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28.02 | LMR - Providing and fixing Atomatic Hydraulic door closer | 28.02 | 25 | Nos. | 25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28.03 | Repairing of existing aluminium windows by removing the windows, ventilators and changing of EPDM rubber/ neoprene gasket, changing of float glass where ever necessary, changing of rollers/wheels , cleaning of tracks, changings of C.P brass / Stainless steel screws, and refixing by filling the gap in between aluminium frame & adjacent RCC/Brick work by providing wheather silicon sealent of approved quality up to 5mm depth and 5mm width complete finishing | 28.03 | 205.8 | Sq.m | 205.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28.04 | DSR 123 - Providing and fixing factory made door frame (single rebate) made out of single piece extruded solid PVC foam profile with homogenous fine cellular structure having smooth outer integral skin having 62 mm width & 32 mm thickness, frame will be mitred & Jointed with self driven self tapping screws of size 38 mm x 4 mm & PVC solvent cement, including fixing the frame to wall with suitable dia & length anchor fastener as per manufacturer's specification and direction of Engineer-in-charge. | 28.04 | 105 | metre | 105 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
29 | DSR 124 - Providing and fixing factory made 30 mm thick door shutter made of solid PVC foam profile. The styles & rails shall be of size 75 mm x 30 mm having wall thickness 5 mm. The styles, top & bottom rails shall have one side wall thickness of 15 mm integrally extruded on the hinge side of the profile for better screw holding power. The styles and rails shall be reinforced with M.S. tubes of size 33 mm x 17 mmx 1 mm, painted with primer , all four corners of reinforcement to be welded or sealed. Solid PVC extruded bidding (push fit type) will be set inside the styles and the rails with a cavity, to receive single piece extruded 5mm PVC sheet as panel. The styles and rails will be mitred cut and joint with the help of PVC solvent cement & self driven self tapping screws. Single piece extruded solid PVC lock rail of size 100 mm x 30 mm with wall thickness 5 mm & 15 mm integrally extruded in the middle of the lock rail & fixed with styles with the help of PVC solvent cement & self driven self tapping screws of size 100mm x 8 mm complete as per anufacturer's specifications and direction of Engineer-in-charge. | 29 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
29.01 | DSR 9.124.2 - Decorative finish (both side wood grained finish) | 29.01 | 33.75 | Sq.m | 33.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
30 | G. SANITARY WORKS DSR 17.7 - Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | 30 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
30.01 | DSR 17.7.1 - White Vitreous China Wash basin size 630x450 mmwith a pair of 15 mm C.P. brass pillar taps. | 30.01 | 18 | Nos. | 18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
30.02 | DSR 17.22A - Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 30.02 | 19 | Nos. | 19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31 | DSR 17.3 - Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required . | 31 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31.01 | W.C. pan with ISI marked white solid plastic seat and lid | 31.01 | 10 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31.02 | DSR 17.78 - Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 31.02 | 5 | Nos. | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31.03 | DSR18.51 - Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | 31.03 | 8 | Nos. | 8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
32 | DSR 18.51.1 - 15 mm nominal bore. | 32 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
33 | (DSR 18.49)Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 . | 33 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
33.01 | DSR 18.49.1 - 15 mm nominal bore | 33.01 | 6 | Nos. | 6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
34 | DSR 18.53 - Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931. | 34 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
34.01 | DSR 18.53.1 - 15mm nominal bore | 34.01 | 46 | Nos. | 46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | DSR 17.73 - Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. | 35 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35.01 | 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 35.01 | 22 | Nos. | 22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36 | DSR 17.34 - Providing and fixing toilet paper holder : | 36 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36.01 | DSR 17.34.1 - C.P. brass | 36.01 | 17 | Nos. | 17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36.02 | DSR 17.71 - Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 36.02 | 26 | Nos. | 26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36.03 | DSR 17.16A - Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 36.03 | 15 | Nos. | 15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36.04 | DSR 17.24 - Providing and fixing white vitreous china squatting plate urinal with integral rim longitudinal flush pipe. | 36.04 | 4 | Nos. | 4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37 | DSR 19.4 - Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: DSR 19.4.3 - 180x150 mm size P type | 37 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37.01 | DSR 19.4.3.1 - With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 37.01 | 15 | Nos. | 15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37.02 | DSR 19.2 - Supplying and fixing C.I. cover 300x300 mm without frame for gully trap (standard pattern) the weight of cover to be not less than 4.5 kg. | 37.02 | 15 | Nos. | 15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37.03 | DSR 17.22B - Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. | 37.03 | 5 | Nos. | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
38 | DSR 18.58 - Providing and fixing PTMT grating of approved quality and colour. DSR 18.5.8.2 - Rectangular type with openable circular lid. | 38 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
38.01 | DSR 18.58.2.1 - 150 mm nominal size square 100 mm diameter of the inner hinged round grating. | 38.01 | 15 | Nos. | 15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
39 | DSR 18.22 - Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet. | 39 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
39.01 | DSR 18.22.2 - 150 mm diameter | 39.01 | 5 | Nos. | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
39.02 | DSR 18.52 - Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | 39.02 | 15 | Nos. | 15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
39.03 | LMR - Providing and fixing Floor trap standard design and of approved make conforming to IS:8931 | 39.03 | 15 | Nos. | 15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
40 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing | 40 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
40.01 | LMR - Rectangular shape 1500X 1000 mm | 40.01 | 5 | Nos. | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41 | H. PLUMBING WORKS DSR 18.8 - Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. | 41 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41.01 | 15 mm nominal dia Pipes | 41.01 | 125 | Meters | 125 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41.02 | 20 mm nominal dia Pipes | 41.02 | 145 | Meters | 145 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41.03 | 25 mm nominal dia Pipes | 41.03 | 175 | Meters | 175 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41.04 | 32 mm nominal dia Pipe | 41.04 | 145 | Meters | 145 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42 | LMR - Providing and fixing of PVC Pressure Pipes and required fittings having ISI mark, confirming the IS 4985:2000, designed specifically for varied pressure and gravity flow application with High flow rate, high resistance to chemical and corrosion comprising water temperatute from 1⁰ C to 45⁰ C and non reactive to acids, alkalis and effolents, salt and minerals. | 42 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42.01 | External work | 42.01 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42.02 | 32 mm nominal dia Pipes metre 6KG/CM 2 | 42.02 | 40 | Meters | 40 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42.03 | 75 mm nominal dia Pipes 6KG/CM 2 | 42.03 | 50 | Meters | 50 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42.04 | 110mm nominal dia Pipes metre 6KG/CM 2 | 42.04 | 600 | Meters | 600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42.05 | 160 mm nominal dia Pipes 6KG/CM 2 | 42.05 | 160 | Meters | 160 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
43 | I. CANOPY WORKS LMR - Providing and fixing canopy for window using 12mm thick Glass fitted with M.S frame and Bolt & nuts | 43 | 107 | Sq.m | 107 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44 | J. ELECTRICAL WORKS LMR - Providing and fixing of 12 W round LED falsce ceiling light | 44 | 117 | Nos. | 117 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.01 | LMR - Providing and refixing of MCB 2 pole 6 Amps | 44.01 | 6 | Nos. | 6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.02 | LMR - Providing and refixing wall mounted fan | 44.02 | 43 | Nos. | 43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.03 | Providing and refixing LED mirror light | 44.03 | 3 | Nos. | 3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.04 | LMR - Providing and refixing of exhaust fan of 300 mm dia | 44.04 | 11 | Nos. | 11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.05 | LMR - Providing and refixing 2x36 W LED falsce ceiling fittings | 44.05 | 3 | Nos. | 3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.06 | LMR - Providing and refixing 2x2 feet LED falsce ceiling light | 44.06 | 49 | Nos. | 49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.07 | LMR - Providing and refixing 3 way modular box | 44.07 | 10 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.08 | Providing and refixing 6 way modular box | 44.08 | 5 | Nos. | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.09 | LMR - Providing and refixing 6 Amps modular switch | 44.09 | 20 | Nos. | 20 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.1 | LMR - Providing and refixing 6 Amps modular 5 pin socket | 44.1 | 10 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.11 | LMR - Providing and refixingMCB single pole 6 Amps | 44.11 | 10 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.12 | LMR - Providing and refixingMCB single pole 20 Amps | 44.12 | 5 | Nos. | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.13 | LMR - Providing and refixing ELCB two pole 63 Amps(100mA) | 44.13 | 5 | Nos. | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.14 | LMR - Providing and refixing ELCB two pole 40 Amps(40mA) | 44.14 | 5 | Nos. | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.15 | LMR - Providing and refixing MCB four pole 63Amps | 44.15 | 2 | Nos. | 2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.16 | LMR - Providing and refixing 16 Amps modular 5 pin socket | 44.16 | 10 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.17 | LMR - Providing and refixing 16 Amps modular switch | 44.17 | 10 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.18 | LMR - Providing and refixing LED wall light fittings(11 W) | 44.18 | 21 | Nos. | 21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.19 | LMR - Providing and refixing LED wall light fittings out door water proofing 15 W | 44.19 | 6 | Nos. | 6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.2 | Providing and refixing 20 W LED bulb | 44.2 | 6 | Nos. | 6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44.21 | LMR - Providing and layiing 4 core 120 Sqmm (AYFY) aluminium armoured under Ground cable to be laid in Cable trench | 44.21 | 250 | RM | 250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information