## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver4.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: The Director, Rajiv Gandhi Centre for Aquaculture
Name of Work: Electrical & Plumbing works at New GIFT Satellite Breeding Center, The Fish Farm of Dept. of Fisheries, Bomaloi, Sambalpur District, Odisha
Contract No: 2024_RGCA_842042
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder (including Tax) Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (with Taxes) | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | A. PANEL BOARDS M.V Panel: (OSR) Indoor type M.V. Switch gear panel 440V. 400 AMP busbar, four wire system, cubical type, front operated complete powered coat finish comprising the following switches confirming to I.E. specification Make of MCCB Siemens /L&T with identification tags and indication lamp with metering arrangement. (Panel sheet thickness 2 mm) | 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | OSR - 400A 4P MCCB | 1.01 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | OSR - 200A TPN MCCB | 1.02 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | OSR - 125A TPN MCCB | 1.03 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | OSR - 63A TPN MCCB | 1.04 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.05 | OSR - Energy Meter | 1.05 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.06 | OSR - 16/18 SWG CR Sheet | 1.06 | 10000 | Sq. Inch |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | EB Metering: (OSR) 200A TPN Aluminium Bus Bar Powder Coating with Epoxy Paint with Sheet Steel Enclosure Indoor type panel 440V cubical type, front operated complete powered coat finish comprising the following switches confirming to I.E. specification make Siemens/L&T with identification tags and indication lamp with metering arrangement. | 2 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.01 | OSR - 200A TPN MCCB | 2.01 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.02 | OSR - 63A TPN MCCB | 2.02 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.03 | OSR - 32A TPN MCCB | 2.03 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.04 | OSR - Energy Meter | 2.04 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.05 | OSR - 16/18 SWG CR Sheet | 2.05 | 8000 | Sq. Inch |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Light Point Wiring | 3 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.01 | OSR - Recessed wiring to light point/Fan point/ Exhaust fan point/Call bell point with 1.5 sg.mm FR PVC insulated single core multistrand copper conductor of ISI marked with 20 mm dia non-metallic PVC flexible conduit with 6Amp, 250V Modular switch(Legrand mylinc/Schneider clipsai/Hager insysta/Anchor Dural or equivalent) ISI marked and ceiling rose ISI marked mounted on metal box having front Modular cover of suitable size, metal box with 1.5 sq.mm FR PVC insulated single core multistrand copper conductor as earth wire including all accessories and connection.(Make of wire L&T/Anchor Havells/V-Guard/Great White/HPL) (Group-B) | 3.01 | 119 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Circuit Mains | 4 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.01 | OSR -Recessed wiring for light / power plug with 2 x 2.5 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked with 20rnm dia non-metallic PVC flexible conduit along with 1 x 1.5 sq.mm FR PVC insulated single core multistrand copper conductor for loop earthing as required (Make of wire-Finolex/L&T/ Anchor Polycab/Havells/Great white/ RR/ V-Guard/ HPL) | 4.01 | 120 | Rm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.02 | OSR - Recessed wiring tor light / power plug with 2 x 4 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked with 20mm dia non-metallic PVC flex1ble conduit along with 1 x 2.5 sq.mm FR PVC insulated single core multistrand copper conductor for loop earthing as required. Finolex L&T/Anchor/Polycab/Havells/Great white/RR/V-Guard/HPL) | 4.02 | 160 | Rm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Light Fittings | 5 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.01 | OSR - Supply, Installation, Testing and Commissioning of integrated LED Batten Light fitting of extruded aluminium/CRCA housing with high quality polycarbonate diffuser, 1200mm long, having nominal colour temperature not less than 6500K, system lumen output 2000 (nominal) and system wattage not more than 20W including connections with 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block and 1.5 sq. mm FRLS, PVC insulated, copper conductor, single core cable and earthing etc., as required. | 5.01 | 71 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.02 | OSR - Supply, installation, testing and commissioning of 20W LED Outdoor light fitting having die cast aluminium housing IP 65/ 66 body, with builtin surge protection device of 5KV, constant current driver complete with all accessories on the existing street light pole/bracket including connection etc. as required. | 5.02 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.03 | LMR - Supply, Installation, Testing and Commissioning of LED Bulb with Reflector of thermal plastic heat dissipating body with opal lens, having nominal colour temperature not less than 2700K, system lumen output 806 (nominal) and system wattage not more than 50W including connections with 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block and 1.5 sq. mm FRLS, PVC insulated, copper conductor, single core cable and earthing etc., as required. | 5.03 | 36 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Fan / Exhaust Fan | 6 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.01 | OSR - Supply, Installation, Testing and Commissioning of 1200 mm sweep, ceiling fan class of insulation: B, 3 nos. blades, 30 cm long down rod, 2nos canopies, shackle kit, copper winding, Air delivery minimum 210 CMM,380 RPM suitable to work on existing electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 6.01 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.02 | OSR - Supply, Installation, testing and commissioning of Industrial type Exhaust fan of size 300mm sweep, body made of Engineering plastic, plastic blades in the existing opening on the existing wall on existing hole to suit to the size of the above fan with Connection accessories of 3 pin, 5 amp ceiling rose on the existing junction box/wooden block including connection etc as required. | 6.02 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Accessories | 7 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.01 | OSR - Supply of fixing of 40 mm GI Bracket with 2 nos GI clamp & 4 nos 3" Anchor fasteners for fixing of street light. | 7.01 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.02 | OSR - Supply and fixing of Electronics step type Modular fan regulator. (Legrand mylinc/ Schneider clipsal/Hager insysta/Anchor Dura or equivalent) | 7.02 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Sockets | 8 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.01 | OSR - Supply and fixing of Modular metal box on surface or in recess with suitable size of Modular cover in front including providing and fixing of 6pin 6amp, 16Amp socket outlet and 16Amp Modular switches connection ( Legrand mylinc / Schneider clipsal / Hager insysta / Anchor Dural or equivalent) | 8.01 | 17 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.02 | OSR - S/F of Ac Point with 20A Plug and socket with provision for mounting of 20A DP MCB for flush mounting and surface mounting including DP MCB (Legrand / Schneider / Hager / Anchor Dural or equivalent) | 8.02 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.03 | LMR - Supply and Fixing of 240V Single Phase water proof Industrial socket with plug (Insulated Plug and Socket IP67) Surface Mounting Outlet with MCB Provision, 16/20A , Including 2Pole 20A MCB etc. as required. | 8.03 | 26 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Air Conditioner Unit | 9 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.01 | OSR - Supply, Erection, Testing and Commissioning of 1.5 Ton Split Type Room Air Conditioner with Stand and copper tubing arrangement | 9.01 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.02 | OSR - Supply, Erection, Testing and Commissioning of 130 to 280 volt 4 KVA Stabilizer including all the accessories. | 9.02 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Lighting Power Distribution Board : (OSR) Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 10 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.01 | OSR - 4 way (4+12), Double door | 10.01 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | OSR - Supplying and fixing following amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 11 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.01 | OSR - 63A Triple pole and neutral MCB | 11.01 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.02 | OSR - 32A Triple pole and neutral MCB | 11.02 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.03 | LMR - 40A, Double Pole RCCB | 11.03 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.04 | LMR - 25A, Double Pole RCCB | 11.04 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.05 | OSR - 6A Single pole MCB | 11.05 | 12 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.06 | OSR - 20A Single pole MCB | 11.06 | 12 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.07 | OSR - Single pole, Blanking Plate | 11.07 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | POWER CABLE - (OSR) Supplying of following sizes of PVC insulated and PVC sheathed/ XLPE aluminium/Copper conductor Multi-strand UG armoured cable of 1.1 KV grade confirming to IS:7098 (Part-I) 1988 with upto date amendments duly ISI marked complete as required. | 12 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.01 | OSR - 3.5C x 150Sq.mm Cable(Al) | 12.01 | 10 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.02 | OSR - 3.5C x 120Sq.mm Cable(Al) | 12.02 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.03 | OSR - 3.5C x 50Sq.mm Cable(Al) | 12.03 | 45 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.04 | OSR - 3.5C x 35Sq.mm Cable(Al) | 12.04 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.05 | OSR - 3.5C x 25Sq.mm Cable(Al) | 12.05 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.06 | OSR - 4C x 16Sq.mm Cable(Al) | 12.06 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | CABLE LAYING - (OSR 5.1) Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | 13 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.01 | OSR 5.1.3 - 3.5C x 150Sq.mm Cable(Al) | 13.01 | 10 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.02 | OSR 5.1.2 - 3.5C x 120Sq.mm Cable(Al) | 13.02 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.03 | OSR 5.1.2 - 3.5C x 50Sq.mm Cable(Al) | 13.03 | 45 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.04 | OSR 5.1.2 - 3.5C x 35Sq.mm Cable(Al) | 13.04 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.05 | OSR 5.1.1 - 3.5C x 25Sq.mm Cable(Al) | 13.05 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.06 | OSR 5.1.1 - 4C x 16Sq.mm Cable(Al) | 13.06 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | END TERMINATION - Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 14 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.01 | LMR - 3.5C x 150Sq.mm(50mm) | 14.01 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.02 | LMR - 3.5C x 120Sq.mm(45mm) | 14.02 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.03 | LMR - 3.5C x 50Sq.mm(32mm) | 14.03 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.04 | LMR - 3.5C x 35Sq.mm(28mm) | 14.04 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.05 | LMR - 3.5C x 25Sq.mm(25mm) | 14.05 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.06 | LMR - 4C x 16Sq.mm(25mm) | 14.06 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | CABLE TRAY - Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray cable tray with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc as required. | 15 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15.01 | LMR - 150 mm width X 50 mm depth X 1.6 mm thickness | 15.01 | 100 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15.02 | LMR - 300 mm width X 50 mm depth X 1.6 mm thickness | 15.02 | 15 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | EARTH FLAT | 16 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.01 | OSR - Supply and fixing of G.I Earthing with G.l earth pipe 3mtr. Long 40mm dia ISI marked including accessories and providing masonry with charcoal and salt as required. | 16.01 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.02 | OSR 3.16 - Supplying and laying 25mm X 5mm G.l strip on surface or in recess for connection etc as required. | 16.02 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.03 | OSR 3.20 - Providing and fixing 8 SWG (4 mm) dia copper wire on surface or in recess for loop earthing along with existing surface / recessed conduit as required. | 16.03 | 30 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | MISCELLANEOUS ITEMS - (OSR) Laying of G.I pipe for Cable Support (Motors and Starters, Fan and Light Fittings 40mm, 50mm) Including Fabrication Bolt, Nut, etc. | 17 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.01 | OSR 40mm G.I Pipe | 17.01 | 25 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.02 | OSR 50mm G.I Pipe | 17.02 | 25 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.03 | OSR Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 17.03 | 100 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18 | SAFETY EQUIPMENTS | 18 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.01 | LMR - 1.1 KV Class 20mm Thick 900x1800mm rubber mat. | 18.01 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.02 | LMR - Safety Instruction chart in English and Local Language | 18.02 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.03 | LMR - Shock treatment chart in English and Local Language | 18.03 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.04 | LMR - Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enamelled white on both sides, and with inscription in single red colour on front side as required. | 18.04 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.05 | LMR - First aid box complete with all standard first aid materials | 18.05 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.06 | LMR - CO2 Fire Extinguisher | 18.06 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.07 | LMR - 1 set - Fire buckets filled with sand and water, necessary bracket for hanging CO2 Fire Extinguisher with bracket etc., as required. | 18.07 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | PLUMBING WORKS Kitchen Sink: (OSR 3.4.14.B) - Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS 13983 with C.I brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required Kitchen sink without drain board 610x510 mm bowl depth 200 mm. | 19 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Tap: [OSR 3.2.14 (vi)] - Fixing of Brass Screw-down Bib Cocks (Taps) polished bright conforming to IS:781-1995 of the following nominal sizes as per specification complete. | 20 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Nahini Trap: (LMR) Providing and fixing 10 cm rigid PVC Nahani trap including bend,connecting piece of PVC pipe up to the outside face of wall ,making the good damaged surface and testing etc. complete ( Prior approval of sample and brand by Ex. Engr. is necessary before use) | 21 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Supply Pipe (10kgf/cm2): (OSR 3.2.4) Providing and fixing Polyvinyl Chloride (PVC) pipes, having thermal stability for water supply including all PVC fittings .This includes jointing of pipes & fittings with one step PVC solvent & testing of joints complete as per direction of Engineer in Charge. | 22 | [5 empty] | Excess(+) | 1 | Full Conversion | INR
22.01 | OSR 3.2.4 (ii) 20mm | 22.01 | 340 | Metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [39 empty] | 15 | 0 | 0 | #VALUE!
22.02 | OSR 3.2.4 (iii) 25mm | 22.02 | 286 | Metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22.03 | OSR 3.2.4 (iv) 32mm | 22.03 | 77 | Metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22.04 | OSR 3.2.4 (vi) 50mm | 22.04 | 414 | Metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Ball Valve : (OSR 3.2.18) Providing and fixing Polyvinyl Chloride (PVC) Ball Valve, This includes jointing with one step PVC solvent as per direction of Engineer in Charge. | 23 | [5 empty] | Excess(+) | 1 | Full Conversion | INR
23.01 | 25mm | 23.01 | 16 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23.02 | 32mm | 23.02 | 50 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23.03 | 50mm | 23.03 | 18 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23.04 | 90mm | 23.04 | 38 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24 | Drain Pipes ( 6Kg/cm2 ) : (OSR 3.1.4) Providing and fixing Polyvinyl Chloride (PVC) pipes, having thermal stability for drain water including all PVC fittings. This includes jointing of pipes & fittings with one step PVC solvent & testing of joints complete as per direction of Engineer in Charge. | 24 | [5 empty] | Excess(+) | 1 | Full Conversion | INR
24.01 | 90mm | 24.01 | 35 | Metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24.02 | 160mm | 24.02 | 37 | Metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24.03 | 200mm | 24.03 | 45 | Metre |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
25 | PVC Fittings( 10 Kg/cm2 ) : (OSR 3.2.18) Providing and fixing Polyvinyl Chloride (PVC) Coupler, This includes jointing with one step PVC solvent as per direction of Engineer in Charge. | 25 | [5 empty] | Excess(+) | 1 | Full Conversion | INR
25.01 | 160mm Dia Coupler | 25.01 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
25.02 | 200mm Dia Coupler | 25.02 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information