## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver4.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: The Director, Rajiv Gandhi Centre for Aquaculture
Name of Work: Repair & Maintenance works at RGCA - Aquatic Quarantine Facility (AQF) at Neelankarai, Chennai, Tamilnadu .
Contract No: 2024_RGCA_
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder (including Tax) Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (with Taxes) | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | CIVIL WORK - Brick work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | (CPWD DSR 6.4) Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in: | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | (CPWD DSR 6.4.2) Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 2 | Cu.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Plastering | [53 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.01 | (CPWD DSR 13.4) 12 mm cement plaster of mix : | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.02 | (CPWD DSR 13.4.1) 1:4 (1 cement: 4 coarse sand) |  | 50 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | (CPWD DSR 13.2) 15 mm cement plaster on the rough side of single or half brick wall of mix: | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.01 | (CPWD DSR 13.2.1) 1:4 (1 cement: 4 fine sand) |  | 23 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Reinforced cement concrete | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.01 | (CPWD DSR 5.1) Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.02 | (CPWD DSR 5.1.3) 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources |  | 11 | Cu.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | (CPWD DSR 5.3) Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels,bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering,finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 1 | Cu.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Centering and Shuttering | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.01 | CPWD DSR 5.9 Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.02 | CPWD DSR 5.9.5 Lintels, beams, plinth beams, girders, bressumers and cantilevers |  | 15 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Vitrified Floor Tiles | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.01 | (CPWD DSR 11.41) Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades,laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand)jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.02 | (CPWD DSR 11.41.2) Size of Tile 600x600 mm |  | 135 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | False ceiling | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.01 | (CPWD DSR 12.53) Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I.slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm,spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre painted with polyster baked paint,for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. |  | 90 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Aluminium Doors and windows | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.01 | (CPWD DSR 21.1) Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P.brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, panelling and dash fasteners to be paid for separately) : | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.02 | (CPWD DSR 21.1.2) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.03 | (CPWD DSR 21.1.2.2) Powder coated aluminium (minimum thickness of powder coating 50 micron) |  | 192 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Wooden Flush Door | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.01 | (CPWD DSR 9.20) Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.02 | (CPWD DSR 9.20.1) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws |  | 3.5 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Toilet Doors | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.01 | (CPWD DSR 9.142) 35 mm thick factory made Solid panel PVC Door shutter, made out of single piece extruded soild PVC profiles, 5 mm (± 0.2 mm) thick, having styles & rails (except lock rail) of size 95 mmx 35 mm x 5 mm, out of which 75 mm shall be flat and 20 mm shall be tapered (on both side),having one side thickness of 15 mm integrally extruded on the hinge side of the profile for better screw holding power, including reinforcing with MS tube of size 40 mm X 20 mm x 1 mm, joints of styles & rails to be mitered cut & joint with the help of PVC solvent cement, self driven self tapping screws & M.S. rectangular pipes bracket of size 190 mm X100 mm of cross section size 35 mm x 17 mm x 1 mm at each corner.Single piece extruded 5 mm thick solid PVC Lock rail of size 115 mm x 35 mm, out of which 75 mm to be flat and 20 mm to be tapered at bothends, having 15 mm solid core in middle of rail section integrally extruded, fixing the styles & rails with the help of solvent and self drivenself tapping screws of 125 mm x 11 mm, including providing 5 mm Single piece solid PVC extruded sheet inserted in the door as panel, all complete as per manufacturer's specification and direction of Engineerin-charge. | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.02 | (CPWD DSR 9.142.1) Non decorative finish (matt finish) |  | 6 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Painting work | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.01 | (CPWD DSR 13.45) Finishing walls with textured exterior paint of required shade : Interior wall surface | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.02 | (CPWD DSR 13.45.1) New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including priming coat of exterior primer applied @ 2.20kg/10 sqm |  | 314 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | (CPWD DSR 13.46) Finishing walls with Acrylic Smooth exterior paint of required shade : Exterior wall surface | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.01 | (CPWD DSR 13.46.1) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) |  | 270 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | (CPWD DSR 13.52) Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete. | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.01 | (CPWD DSR 13.52.1) On steel work |  | 214.44 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | (CPWD DSR - 15.7) Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15.01 | (CPWD DSR - 15.7.4) In cement mortar |  | 2 | Cu.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | (CPWD DSR 15.28) Dismantling roofing including ridges, hips, valleys and gutters etc.,and stacking the material within 50 metres lead of: | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.01 | (CPWD DSR 15.28.1). GS Sheet |  | 192.35 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.02 | (CPWD DSR 15.28.2) Asbestos Cement sheet |  | 300 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | (CPWD DSR 15.23) Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.01 | (CPWD DSR 15.23.1) For thickness of tiles 10 mm to 25 mm |  | 105 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18 | Santitary Fittings Installation | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.01 | (CPWD DSR 17.3) Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets,40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.02 | (CPWD DSR 17.3.1) W.C. pan with ISI marked white solid plastic seat and lid |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | (CPWD DSR 17.7) Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.01 | (CPWD DSR 17.7.3) White Vitreous China Wash basin size 550x400 mm with a pair of 15 mm C.P. brass pillar taps each |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | (CPWD DSR 18.5) Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20.01 | (CPWD DSR 18.50.1) 15 mm nominal bore |  | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21 | Structural steel work | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.01 | (CPWD DSR 10.2) Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete |  | 700 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22 | Roofing Work | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.01 | (Chennai City Corporation - BD-511) Providing roofing with asbestos cement corrugated sheets 6mm (IS459) thick including fixing with 'J' bolts and nuts with bitumen washers etc., complete as directed during execution. |  | 500 | Sq.m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.02 | (Chennai City Corporation - BD-512) Providing asbestos cement ridges (adjustable) to fit the corrugated or traffered sheets including fixing, etc. complete |  | 30 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23 | Rain Water Gutter Work | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23.01 | (CPWD DSR 12.66.6) Precoated/mill finish aluminium Gutter (600 mm over all girth) |  | 22 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | (Chennai City Corporation - BD-668) Supplying and fixing PVC 160mm dia rain water down fail pipe asper ISI standard (I.S.4985) including PVC bends without door arrangements shoes, gratings with clamps of suitable size fixed to wooden plugs embeded in walls in cement mortar 1:3 (1 cement,3 Crushed Stone Sand (Commercially called M-Sand) including cutting beles in walls and making good the same after fixing the plugs etc., complete as directed during execution. |  | 28 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
25 | Aluminium Repair work | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
25.01 | (MARKET RATE) Repair & refixing of aluminium glazzed doors and partitions. The rate shall inclusive of materials and labour work as per engineer direction. |  | 104 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26 | ELECTRICAL WORK - Micro Biology Room & From DB to Switch Box | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26.01 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26.02 | (CPWD DSR 1.17.2)2X1.5 Sqmm (Colour-Red,Black) |  | 6 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27 | Light Point | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27.01 | (CPWD DSR 1.3) Wiring for Light Point/ Fan point/Call bell point with 1.5 sqmm FRLS PVC Insulated Copper conductor single core cable in surface /recessed Steel conduit with Modular switc,Modular plate,Suitable GI Box and Earthing the point with 1.5 Sqmm FRLS PVC Insulated Copper Conductor single core cable etc. as required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27.02 | (CPWD DSR 1.3.3)From DB to Switch Box (Power Socket) |  | 2 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28.01 | (CPWD DSR 1.17.21)3X 4 Sq.mm (Colour-Red,Black,Green) |  | 6 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
29 | (MARKET RATE) Supply of PVC Trunking 38X 20 mm (White Colour) |  | 2 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
30 | (MARKET RATE) Supply of Surface PVC Switch Box 8 Module Horizontal (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31 | (MARKET RATE) Supply of 8 Modules Modular Tresa Plate with Frame (White) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
32 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
32.01 | (CPWD DSR 1.24.3) 15/16 A switch 1 way |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
32.02 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
33 | (CHENNAI CORPORATION ED-283) 20A modular MCB (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
34 | (CHENNAI CORPORATION ED-531) Supply of 18W LED 3000K Round Type Recessed Fitting with LED |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | (CPWD DSR 1.35) Installation, Testing commissioning of Wall bracket/Celing fittings of all sizes and Shapes containing upto LED Lamps per fitting,Complete with all Acessories including connections required |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36 | For Air Conditioner | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36.01 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36.02 | (CPWD DSR 1.17.21) 3X 4 Sq.mm (Colour-Red,Black,Green) (From DB to Switch Box) |  | 6 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36.03 | (CPWD DSR 1.17.21) 3X 4 Sq.mm (Colour-Red,Black,Green) From Switch Box to AC Point |  | 6 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37.01 | (CPWD DSR 1.24.3) 15/16 A switch 1 way |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37.02 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
38 | (MARKET RATE) Supply of Surface Plastic Box 6 Module (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
39 | (MARKET RATE) Supply of 6 Modules Modular Tresa Plate with Frame (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
40 | (CPWD DSR 1019) Supply of Electrician (For Installation and Commissioning of 8M Modular Switch box mini MCB fixing and Conection and 2M Modular Switch box Fixing work |  | 0.5 | Man days |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41 | Visitors Room - Light Point | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41.01 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41.02 | (CPWD DSR 1.17.2) 2X1.5 Sqmm (Colour-Red,Black) From DB to Switch Box |  | 12 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42 | CPWD DSR (E&M 2022) 1.3.3 Wiring for Light Point/ Fan point/Call bell point with 1.5 sqmm FRLS PVC Insulated Copper conductor single core cable in surface /recessed Steel conduit with Modular switc,Modular plate,Suitable GI Box and Earthing the point with 1.5 Sqmm FRLS PVC Insulated Copper Conductor single core cable etc. as required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42.01 | For Power Socket From DB to Switch Box |  | 2 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
43 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
43.01 | (CPWD DSR 1.17.21) 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 12 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44 | (MARKET RATE) Supply of Surface PVC Box 6 Module 85(mm) X219 (mm) Depth 50 (mm) Size |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
45 | (MARKET RATE) Supply of 6 Modules PVC Modular Tresa Plate with Frame (White) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46 | (MARKET RATE) Supply of PVC Trunking 38X 20 mm (White Colour) |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
47 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
47.01 | (CPWD DSR 1.24.3) 15/16 A switch 1 way |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
47.02 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
48 | (CPWD DSR 1019) Supply of Electrician (For Installation and Comissioning of 6M Modular Switch box Erection of PVC Trunking) All wiring related work |  | 0.5 | Man days |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
49 | (MARKET RATE) Supply of LED Light Fall ceiling Round Type 15 W White colour |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
50 | (CPWD DSR 1.35) Installation, Testing commissioning of Wall bracket/Celing fittings of all sizes and Shapes containing upto LED Lamps per fitting,Complete with all Acessories including connections required |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
51 | (CPWD DSR 19.1) Supply and Installation, Commissioning of 1200mm Sweep BEE 5 Star Celing Fanwith brush less Direct Current (BLDC) Motor Class of Insulation B Nos of Blades ,30cm Long Down Rod 2 Nos Canopies Shackle kit,Safety Rope,Cpeer winding power factor not less than 0.9 service value (CM/M/W) minimum 6.00 Air Delivery minimum 210 Cum/Min,350 RPM (Tolerance as per IS: 374-2019)THD less than 10% remeote or Electronic Regulator for speed control all remaining acessories including Safety Pin,Nut Bolts,Washers,Temperature rise=75 deg C (Max) Insulation resistance more than 2 Mega ohm suitable for 230V,50HZ single phase AC Supply eartning etc,Complete as required |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52 | Varanda - Light Point | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52.01 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52.02 | (CPWD DSR 1.17.2) 2X1.5 Sqmm (Colour-Red,Black) |  | 12 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
53 | (MARKET RATE) Supply of Surface Plastic Box 2 Module 85(mm) X85 (mm) Depth 50 (mm) Size Anchor make (White Colour) (ANCHOR Modular Box Price List June 2021) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
54 | (MARKET RATE) Supply of 2 Modules Modular Tresa Plate with Frame (White) ROMA Classice 30227WH (ANCHOR ROMA Classic ) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
55 | (MARKET RATE) Supply of PVC Trunking 38X 20 mm (White Colour) |  | 1 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
56 | (CPWD DSR 1.3.3) Wiring for Light Point/ Fan point/Call bell point with 1.5 sqmm FRLS PVC Insulated Copper conductor single core cable in surface /recessed Steel conduit with Modular switc,Modular plate,Suitable GI Box and Earthing the point with 1.5 Sqmm FRLS PVC Insulated Copper Conductor single core cable etc. as required |  | 1 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
57 | (CPWD DSR 1019) Supply of Electrician (For Installation of 6M and 2M Modular Switch box installation and Modular Plate installation and Switch Installation and Connections |  | 0.5 | Man days |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
58 | (MARKET RATE) Supply of LED Light Fall ceiling Round Type 12 W White colour |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
59 | (CPWD DSR 1.35) Installation, Testing commissioning of Wall bracket/Celing fittings of all sizes and Shapes containing upto LED Lamps per fitting,Complete with all Acessories including connections required |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
60 | AQMS Room | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
60.01 | Switch Box to Lighting Point | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
60.02 | (CPWD DSR 1.3.3) Wiring for Light Point/ Fan point/Call bell point with 1.5 sqmm FRLS PVC Insulated Copper conductor single core cable in surface /recessed Steel conduit with Modular switc,Modular plate,Suitable GI Box and Earthing the point with 1.5 Sqmm FRLS PVC Insulated Copper Conductor single core cable etc. as required |  | 1 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
61 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
61.01 | (CPWD DSR 1.17.21) 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 15 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
62 | For AC | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
62.01 | CPWD DSR 1.17 Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required | [53 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
62.02 | (CPWD DSR 1.17.21) 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 20 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
63 | (MARKET RATE) Supply of Surface PVC Switch Box 8 Module Horizontal (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
64 | (MARKET RATE) Supply of Surface Plastic Box 2 Module (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
65 | (MARKET RATE) Supply of 8 Modules Modular Tresa Plate with Frame (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
66 | (MARKET RATE) Supply of 2 Modules Modular Tresa Plate with Frame (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
67 | (MARKET RATE) Supply of PVC Trunking 38X 20 mm (White Colour) |  | 3 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
68 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate
68.01 | (CPWD DSR 1.24.3) 15/16 A switch 1 way |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
68.02 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
69 | (CHENNAI CORPORATION (2020-21) ED-283) 20A modular MCB (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
70 | (CHENNAI CORPORATION (2020-21) ED-531) Supply of 18W LED 3000K Round Type Recessed Fitting with LED |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
71 | (CPWD DSR 1.35) Installation, Testing commissioning of Wall bracket/Celing fittings of all sizes and Shapes containing upto LED Lamps per fitting,Complete with all Acessories including connections required |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
72 | (CPWD DSR 1019) Supply of Electrician (For Installation of 8M and 2M Modular Switch box installation and Modular Plate installation and Switch Installation and Connections and Comissioning Erection of PVC Trunking & Mini MCB Installation and etc |  | 1 | Man days |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
73 | Office Hall
73.01 | From DB to Switch Box - Light Point
73.02 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
73.03 | (CPWD DSR 1.17.2) 2X1.5 Sqmm (Colour-Red,Black) |  | 20 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
74 | (CPWD DSR 1.3.3) Wiring for Light Point/ Fan point/Call bell point with 1.5 sqmm FRLS PVC Insulated Copper conductor single core cable in surface /recessed Steel conduit with Modular switc,Modular plate,Suitable GI Box and Earthing the point with 1.5 Sqmm FRLS PVC Insulated Copper Conductor single core cable etc. as required |  | 4 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
75 | For Power Socket-1
75.01 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
75.02 | (CPWD DSR 1.17.21) 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 15 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
76 | (MARKET RATE) Supply of Surface PVC Switch Box 8 Module Horizontal (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
77 | (MARKET RATE) Supply of 8 Modules Modular Tresa Plate with Frame (White) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
78 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate
78.01 | (CPWD DSR 1.24.3) 15/16 A switch 1 way |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
78.02 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
79 | For Power Socket-2
79.01 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
79.02 | (CPWD DSR 1.17.21) 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 25 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
80 | (MARKET RATE) Supply of Surface PVC Box 6 Module (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
81 | (MARKET RATE) Supply of 6 Modules PVC Modular Tresa Plate with Frame (White) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
82 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate
82.01 | (CPWD DSR 1.24.3) 15/16 A switch 1 way |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
82.02 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
83 | For Power Socket-3
83.01 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
83.02 | (CPWD DSR 1.17.21) 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 25 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
84 | (MARKET RATE) Supply of Surface PVC Box 6 Module 85(mm) X219 (mm) Depth 50 (mm) Size |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
85 | (MARKET RATE) Supply of 6 Modules PVC Modular Tresa Plate with Frame (White) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
86 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate
86.01 | (CPWD DSR 1.24.3) 15/16 A switch 1 way |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
86.02 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
87 | For Power Socket-4
87.01 | (CPWD DSR 1.17.21) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
87.02 | 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 25 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
88 | (MARKET RATE) Supply of Surface PVC Box 6 Module 85(mm) X219 (mm) Depth 50 (mm) Size |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
89 | (MARKET RATE) Supply of 6 Modules PVC Modular Tresa Plate with Frame (White) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
90 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate
90.01 | (CPWD DSR 1.24.3) 15/16 A switch 1 way |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
90.02 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
91 | AC Point-1 (Project Manager Room)
91.01 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
91.02 | (CPWD DSR 1.17.21) 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 25 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
92 | (MARKET RATE) Supply of Surface Plastic Box 2 Module 85(mm) X85 (mm) Depth 50 (mm) Size Anchor make (White Colour) (ANCHOR Modular Box Price List June 2021) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
93 | (MARKET RATE) Supply of 2 Modules Modular Tresa Plate with Frame (White) ROMA Classice 30227WH (ANCHOR ROMA Classic ) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
94 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate
94.01 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
94.02 | (CHENNAI CORPORATION ED-283 20A modular MCB (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
95 | AC Point-2 (Office)
95.01 | (CPWD DSR 1.17.21) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
95.02 | 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 25 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
96 | (MARKET RATE) Supply of Surface Plastic Box 2 Module 85(mm) X85 (mm) Depth 50 (mm) Size Anchor make (White Colour) (ANCHOR Modular Box Price List June 2021) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
97 | (MARKET RATE) Supply of 2 Modules Modular Tresa Plate with Frame (White) ROMA Classice 30227WH (ANCHOR ROMA Classic ) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
98 | (CPWD DSR 1.21) Supply and Fixing of followng size of Medium Class PVC Conduit along with accesessories in Surface/recess including cutting wall and making good the same in case of recessed conduit as required
98.01 | (CPWD DSR 1.21.2) Medium class PVC Conduit 25 mm (White Colour) |  | 2 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
99 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate
99.01 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
99.02 | (CHENNAI CORPORATION ED-283 20A modular MCB (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
100 | AC Point-3 (Office)
100.01 | (CPWD DSR 1.17.21) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
100.02 | 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 35 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
101 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate
101.01 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
101.02 | (CHENNAI CORPORATION ED-283 20A modular MCB (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
102 | (MARKET RATE) Supply of Surface Plastic Box 2 Module (White Colour) |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
103 | (MARKET RATE) Supply of 2 Modules Modular Tresa Plate with Frame (White) |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
104 | (MARKET RATE) Supply of PVC Trunking 38X 20 mm (White Colour) |  | 25 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
105 | (CHENNAI CORPORATION ED-531) Supply of 18W LED 3000K Round Type Recessed Fitting with LED |  | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
106 | (CPWD DSR 1.35) Installation, Testing commissioning of Wall bracket/Celing fittings of all sizes and Shapes containing upto LED Lamps per fitting,Complete with all Acessories including connections required |  | 4 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
107 | (CPWD DSR 1019) Supply of Electrician (For Installation of 8M and 2M ,6M Modular Switch box installation and Modular Plate installation and Switch Installation and Connections and Comissioning Installation of PVC Trunking & Mini MCB Installation and Other works |  | 1 | Man days |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
108 | Project Manager Room
108.01 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
108.02 | (CPWD DSR 1.17.2) 2X1.5 Sqmm (Colour-Red,Black) |  | 25 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
109 | (CPWD DSR 1.3.3) Wiring for Light Point/ Fan point/Call bell point with 1.5 sqmm FRLS PVC Insulated Copper conductor single core cable in surface /recessed Steel conduit with Modular switc,Modular plate,Suitable GI Box and Earthing the point with 1.5 Sqmm FRLS PVC Insulated Copper Conductor single core cable etc. as required |  | 5 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
110 | For Power Socket-1
110.01 | (CPWD DSR 1.17) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
110.02 | (CPWD DSR 1.17.21) 3X 4 Sq.mm (Colour-Red,Black,Green) |  | 20 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
111 | (MARKET RATE) Supply of Surface PVC Switch Box 8 Module Horizontal (White Colour) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
112 | (MARKET RATE) Supply of 8 Modules Modular Tresa Plate with Frame (White) |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
113 | (CPWD DSR 1.24) Supplying and Fixing following Modular Switch /Socket on the existing Modular Plate & Switch Box including Connections but Excluding Modular Plate
113.01 | (CPWD DSR 1.24.3) 15/16 A switch 1 way |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
113.02 | (CPWD DSR 1.24.5) 6 Pin 15/16 A Socket |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
114 | (CPWD DSR 1.17.21) Supplying and Drawing Following Sizes of FRLS PVC Insulated Copper Conductor,Single Core cable in the Surface/recessed steel PVC conduit as required
114.01 | 2X 1.5 Sq.mm (Colour-Red,Black,Green) |  | 20 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
115 | (MARKET RATE) Supply of Surface Plastic Box 2 Module (White Colour) |  | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
116 | (MARKET RATE) Supply of 2 Modules Modular Tresa Plate with Frame (White Colour) |  | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
117 | (MARKET RATE) Supply of PVC Trunking 38X 20 mm (White Colour) |  | 5 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
118 | (CHENNAI CORPORATION ED-531) Supply of 18W LED 3000K Round Type Recessed Fitting with LED |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
119 | (MARKET RATE) Supply of 12W LED 3000K Round Type Recessed Fitting with LED |  | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
120 | (CPWD DSR 1.35) Installation, Testing commissioning of Wall bracket/Celing fittings of all sizes and Shapes containing upto LED Lamps per fitting,Complete with all Acessories including connections required |  | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
121 | (CHENNAI CORPORATION ED-179) Supply and Fixing of A.C Exhaust Fan 450mm (18") Sweep (Light Duty) complete with necessary wall opening and making fgood of the wall |  | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
122 | (CPWD DSR 1.3.3) Wiring for Light Point/ Fan point/Call bell point with 1.5 sqmm FRLS PVC Insulated Copper conductor single core cable in surface /recessed Steel conduit with Modular switc,Modular plate,Suitable GI Box and Earthing the point with 1.5 Sqmm FRLS PVC Insulated Copper Conductor single core cable etc. as required |  | 3 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
123 | (CPWD DSR 1019) Supply of Electrician (For Installation of 8M and 2M ,6M Modular Switch box installation and Modular Plate installation and Switch Installation and Connections and Comissioning Installation of PVC Trunking & Mini MCB Installation and Other works |  | 2 | Man days |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
124 | MCB & DB Box
124.01 | (CPWD DSR 2.4) Supplying and Fixing Following way Horizontal type Three pole and Neutral Sheet Steel MCB Distribution board,415V on Surface/Recess,Complete with tinned copper bus bar,neutral Bus bar,Earth bar,Din bar,interconnections,Powder Painted including earthing etc as required (But without MCBs and incommer)
124.02 | (CPWD DSR 2.4.3) 8way (4+24) Double Door |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
125 | (CPWD DSR 2.10) Supplying and Fixing 5A to 32A rating ,240/415V ,10KA,C -Curve Miniature Breaker Suitable for Inductive Load of following poles in the existing MCB DB complete with connections,testing and comissioning etc.as required.
125.01 | (CPWD DSR 2.10.1) 6A Single pole |  | 10 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
126 | (CPWD DSR 2.10) Supplying and Fixing 5A to 32A rating ,240/415V ,10KA,C -Curve Miniature Breaker Suitable for Inductive Load of following poles in the existing MCB DB complete with connections,testing and comissioning etc.as required.
126.01 | (CPWD DSR 2.10.1) 16A Single pole |  | 15 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
127 | (CPWD DSR 2.14) Supplying and Fixing Following rating double pole<(Single phase and Neutral),240 residual Current Circuit Breaker (RCCB), having a sensitive Current 30 mA in the Existing MCB DB Complete with Connections,testing and Comissioning etc. as required
127.01 | (CPWD DSR 2.14.2) RCCB 40 A |  | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
128 | (CPWD DSR 2.14) Supplying and Fixing Following rating double pole<(Single phase and Neutral),240 residual Current Circuit Breaker (RCCB), having a sensitive Current 30 mA in the Existing MCB DB Complete with Connections,testing and Comissioning etc. as required
128.01 | (CPWD DSR 2.14.1) RCCB 25 A |  | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
129 | (CPWD DSR 2.13) Supplying and Fixing following ration,Four Pole,415V,Isolator in the Existing MCB DB Complete with Connections,testing and Commissioning etc.as required
129.01 | (CPWD DSR 2.13.2) 63A |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
130 | Telecom & LAN
130.01 | (CHENNAI CORPORATION ED-755) Supply of CAT 6 LAN cable |  | 100 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
130.02 | (CHENNAI CORPORATION ED-786) Supply of I/O Socket RJ-45 |  | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
130.03 | (CHENNAI CORPORATION ED-788) Supply of CAT 6 PVC Module Box |  | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
130.04 | (CHENNAI CORPORATION ED-789) Supply of Face Plate Single RJ-45 |  | 12 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
131 | (MARKET RATE) Supply of PVC Trunking 25X 16 mm |  | 30 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
132 | (CPWD DSR 1.21.2) Supply and Fixing of followng size of Medium Class PVC Conduit along with accesessories in Surface/recess including cutting wall and making good the same in case of recessed conduit as required
132.01 | Medium class PVC Conduit 25 mm (White Colour) |  | 40 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
133 | (CHENNAI CORPORATION ED-773) Supply of LAN Network Switches Un-Managed 1/100/1000-24 Port |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
134 | (MARKET RATE) Supply of Cat6 RJ45 Connector |  | 100 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
135 | (MARKET RATE) Blank Plate Single 1M (1 Module) |  | 30 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
136 | (CHENNAI CORPORATION ED-797) Rack with Accessories - 4U Rack |  | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
137 | (CPWD DSR 1020) Supply of Electronic Technician (For Installation and End Termination of Net work Cables Installation and Comissioning ,Installation and Comissioning of 4U Rack and Network switches,Installation and Comissioning of Network Jack,Sockets,Network related Cat6 PVC Module and etc, and Network related works etc. |  | 3 | Man days |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
138 | Power cable
138.01 | (MARKET RATE) Supply of 16 Sq.mm 4 core Armoured XLPE Alumnium Cable |  | 35 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
138.02 | (MARKET RATE) Supply of 16 Sq.mm 4 core Armoured XLPE Alumnium Cable |  | 35 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
139 | (CHENNAI CORPORATION ED-218) Supply & Fixing of Brass Cable gland for 2X16 Sq.mm LT UG Armoured Cable with Earth Connection |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
140 | (MARKET RATE) PVC Junction Box 3 way 25mm size (Connection Box) |  | 15 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
141 | (MARKET RATE) Supply of Wooden Plug and Screws for Installation of PVC Switch box and PVC Truncking for PVC Switch Box and all Electrtical wiring related works etc. |  | 500 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
142 | (CPWD DSR 1019) Supply of Electrician (For Power Cable Cable laying and End Termination) |  | 2 | Man days |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
143 | (CPWD DSR 5.19) Providing and Fixing 4.00 mm dia Copper wire on Surface or in recess for loop Erathing along with Existing Surface /recessed conduit/submain wiring/cables are required |  | 10 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
144 | Air Conditioners and Acessories
144.01 | (CHENNAI CORPORATION ED-260) Supply & installation of Split type 2 TON Air conditioner ( 3 Star rating) |  | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information